## ZSO
S no. | KRA | Target | Weightage(%) | Achieved
1 | "Safety Consciousness: I. Operations / Network serv. & Quality (O&M, STS, CSL, Projects, NEG, MMG, CEG etc.) a) Suraksha Portal Entries of Unsafe situation/ unsafe act/ Near miss b) Participation in Safety Talks (Zonal offices & Major buildings) II. Non-Operations (Back offices, HR, IT, F&A, Commercial except MMG etc.) | I. a) 3 entries per month b) Weekly II. 1 Entry per Quarter | 5 | Achieved. 1. a) I) 37NO'S Unsafe situation and near miss reported in suraksha portal. b) Participated in safety talk in zone on daily basis and also participated in Zonal LQSC and District LQSC on mothly basis.
2 | "a) (i) Impact of Improvement Projects: Participation in >= 3 Star SHINE Project (ii) Participation in Business Excellence Initiatives - Tata Ideas, TATA/ Power Innovista, QCC/ Allied Kaizen (Prayaas) Competitions, Gyan Sangam 2.0, SEEKH Sessions, 6S implementation, Quality Month, Best Practices implementation from TATA EDGE and other forums b) (i) Policy Management - Compliance to action plan of Strategies/ Means for achieving CPs (ii) Daily Work Management - All Process CPs Stable & Capable as per 2x2 Matrix" | "a (i) : 1 (ii) : 4 b (i) : 100% (ii) : >75% | 5 | QC participation done and represented at company level. I) Actively engaged in DWM on regular basis for DMS, PA, NCC, Streetlight and other zonal activity and below result achieved. i) DMS Scorecard :- On TRACK for entire month of this FY. ii)PA Scorecard :- On TRACK for entire month of this FY. iii)NCC & S/L :-100% PA, NCC also reduced in compared to LFY. iv) 2NO QC, 15NO Prayaas and 2NO BA Prayaas completed in this FY.
3 | "a) Skill Enhancement and Self- Learning initiative b) Participation in CSR Activities in Blue and Green Categories (such as organizing sessions / Visit to VT Centers / WLCs, Urja Mela, Registration on SEWA Portal (Mandatory) c) Participation in companywide initiatives such as Ethics week, Quality Week, Cultural Clubs, Sports events, SEEKH Sessions etc. " | "a) 2 Initiatives b) 2 activities c) 4 events" | 5 | a) Skill Enhancement and Self- Learning initiative: 1)CEA (Supervisors) – 2: " Operation & Maintenance of Distribution Network Trainning completed and certificate received from DOSEC. 2) Trainning given to Zonal l linemen for utilisation of Operating rod and regarding SOPs. b) Participation in CSR Activities in Blue and Green Categories: 1) Kite Flying session taken on 4NO schools. c) Participation in companywide initiatives such as Ethics week, Quality Week, Cultural Clubs, Sports events, SEEKH Sessions etc. : 1)Participated in reward & recoginition and safety session by CEO sir at D-BWN.
4 | 1.Attend Early morning/odd hour PSD/UPSD for new connection/MMG/COS activities. 2.Coordination with Project team for HOTO of schemes execution & report ZM for any abnormality during visit. | 100% | 10 | 1. 385No's PSD attended and below mentioned work has been done. A. Setionlisation of network done at 17No's loaction by installing 10No's GO switch and 7No's DD units. B. 2No's 3-way and 1No's 4-way RMU installtion done at zonal level agter repainsing through RWS. c. Main line jumper replacement done 300sq. mm jumper at 70No's loaction. d. Three trimming done at approx. 1500 No's loactons. e. Unused sectionliser taken in service and sectionlisation of chandpur feeder done by installing it. f. Trial tripping checking done for 16No's RMU in cordination with protection. g. DD extension at HVDS and DT's done at 78No's locations. i. 650m Sleev installtion done on conductior. 2. Coridnation done with project team and approx. 200No's PSD given to them following SOP's. HOTO of 76No's project scheme also done after checking sites.
5 | Regular Patrolling of E-Rickshaw charging points. Give Input & regular patrolling of Big premises/kothis ,Property dealers, Gym,water plants , PGs and already booked cases Assist ZM for creating visible impact by conducting major raids in Tough areas.Report suspected theft cases and assist ZM/CEG team for effective Raid. | 100% | 5 | Achieved. Actively cordinated with CEG team in conducting raids. Total 3600KW load booked in FY.
6 | Assist ZM for reduction in Consumable through cross check of materail consumed at site. Facilitate scrap management by maintainingscrap register and ensuring timely dispatch of scrap to stores.Checking of GP failure material and cross check on consumption at site. | 100% | 10 | 1) Mateirals used at site was always cross checked and also reusing of old materials done to reduce the consumption. 2) Time to time scrap returned to store and record also maintained. 3) consumption of 695m HT ABC under opex has been redueced by reusing it in maintence for sick HT ABC replacement at 11KV feeder. 4) 3 way RMU cost saved by reusing by repairing through RWS. 5) 36NO 800A ACB cost saved by reusing by repairing through RWS. 6) All PM order > 60 days closed in the system after maintaining MAS. 7) 8NO DT swappping done in industrial area for releasing new connection. 8) 4KM armour cable laying done against theft DT at 13NO loaction and cost of DT has been saved.
7 | Distribution of defective customer wiring notice. Ensure No current complaints attending through Mobility. Reporting of exact root cause of feeder tripping so as to reduction in transient Tripping cases.Report and maintain record of force mejeure events during attending of NCC/Tripping. Ensure PA compliance of NCC. | 100% | 10 | a) Approx. 50NO's defective wiring notices served wherever unsafe situation found. b)Analysis of fault of each trippings done and CAPA also taken for further reduction of trippings. c) Force measure maintained wherever it was required. 100% NCC are attneded within the PA.
8 | Night inspection/other inspections during NCC & breakdowns. Ensuring 100% breakdowns attend within stipulated time frame. 1.Load balancing of DT/LT feeders 2.Regular Patrolling for DT/ Oil theft cases reduction. | 100% | 10 | Achieved. 100% breakdowns attend within stipulated time frame. 1) i) 14NO's Overloaded LT feeder and 3NO's Overload DT of FY mitigated. 2) i) Time to time patrolling done in zonal area and no DT/Oil theft cases reported in FY. ii) Zero DT failure reported in FY.
9 | 100% adherence to scheduled planned outage and planning and execution of all type of maintenance activities. Coordinate & ensure proper attanding & closure of NCC/Tripping in mobility/OMS.In house DO Execution -HCB/HRB-100%. Attending NCC/BD to ensure Implementation of FFA at Breakdown level-100% | 100% | 10 | 1. 385No's PSD attended and below mentioned work has been done. A. Setionlisation of network done at 17No's loaction by installing 10No's GO switch and 7No's DD units. B. 2No's 3-way and 1No's 4-way RMU installtion done at zonal level agter repainsing through RWS. c. Main line jumper replacement done 300sq. mm jumper at 70No's loaction. d. Three trimming done at approx. 1500 No's loactons. e. Unused sectionliser taken in service and sectionlisation of chandpur feeder done by installing it. f. Trial tripping checking done for 16No's RMU in cordination with protection. g. DD extension at HVDS and DT's done at 78No's locations. i. 650m Sleev installtion done on conductior. j. LT maintenance done at 10NO's high NCC s/stn. k. 5No's additional LT feeders laying done for overload mitigation. l. 50No's ACB tripping checked to maintain LT reliability. m. Single ACB single feeder done at 6No's loaction in this FY. n. Double IPC installtion done 51No's LT T-off. o. HVDS to LVDS of K and B block JJ colony completed and service shifting also completed. p. 571No's Pole cleaning done to reduce NCC count. q. 600m sick HT ABC replacement done by reusing unsed HT ABC in system. r. 470No's metallic box installtion done in this FY.
10 | A) Distribution of unauthorised construction notices. Attending LSCs and reviewing ASP status: Monthly. Responsibility to inculcatesafety habit in all employees & BA employees in zone to ensure zero violation, accident & complete adherence to safety zone. Ensuretimely closure of Surksha issues pertaining to the Zone. B) Reconsiliation of meter seals issued C) quality and safety check of the smart meters installed in respective zone | A) 100% B) Pendency not more than 30 days c) 10 per month | 10 | a) Distribution of Uauthorised construction notices done on weekly basis and more than 150NO's new notices served wherever unsafe situation observed.Safety session and site visit done in frequent basis to maintain incident free zone. b) 23No's public installtion safety audit conducted with the timeframe. c) Reconsiliation of meter seal done on time, no seal cases is pending >60 days. d)Qulity checked carried out along with ZM sir at Jain colony for newly installed samrt meter.
11 | To cover LT poles used by Cable/net Operator unauthorised way into billing net | 500 | 5 | Achieved.
12 | Deployment of necessary safeguards of PPE/ Process Control/ SOP in Operations | 100% | 10 | 100% deployment of necessary safeguards of PPE/ Process Control/ SOP done in Zone-533.
13 | Network mismatch reduction of the complaints in the system | Network mismatch to be reduced to 4% of the total mismatch of the respective circle since status of Last year closing | 5 | Network missmatch is only 4% in zone-533.